WASTEWATER COLLECTION SYSTEM INSPECTION CHECKLIST
	Agency:  
	

	Inspection Team:
	

	Facility Representatives:
	

	Date of Inspection:
	


A.
SEWER SYSTEM OVERVIEW
Please provide responses to the information requested in the right column below or in a separate attachment as appropriate.
	Item
	Response

	1. Population served by your agency’s sewer system
	

	2. Service Area (sq. mi.)
	

	3. Are other agencies/communities discharging into this sewer system? If so, please provide a list of these agencies/communities.  Does an interagency agreement exist and who is responsible for maintaining the other system(s)?
	

	4. Map showing major interceptors, trunk lines and pump stations
	

	5. Flow monitoring program in place? If so, please briefly describe the program and provide actual sewer system flows in #6 below.
	

	6. Provide design and actual sewer system flows:

a. Average daily dry weather flow (MGD):
b. Peak dry weather flow (MGD):
c. Peak wet weather flow (MGD):
d. Seasonal dry weather flow (MGD):
	

	7. Basis of peak flow (storm frequency):
	

	8. Average annual precipitation (in):
	

	9. Miles of sewer (total)
	

	10. Miles of gravity sewers
	

	11. Miles of forced mains and other pressure systems
	

	12. What percentage of your sewer system was constructed between the years of:
a. 2000-Present

b. 1980-1999

c. 1960-1979

d. 1940-1949

e. 1920-1939

f. Before 1919
	

	13. Responsibility for laterals? (e.g., at main line connection or from main line to property line (or easement or cleanout) or beyond property line)
	

	14. # of Pump stations
	

	15. % Pump stations with remote status monitoring
	

	16. % Pump stations with backup power sources
	


Please present a general overview of the information requested in Sections B-E below.  Please provide one hard copy and if available an electronic-copy of the documents indicated.  Please note that some documents should only be made available for viewing purposes during the site inspection and will be indicated as such.   When appropriate, please provide responses in the right column or in a separate attachment (provide one hard copy and if available an electronic copy).  In some cases, the Agency may be requested to provide a demonstration and/or present an overview of the information requested during the site visit.  

B.
SEWER SYSTEM MANAGEMENT AND SPILL RESPONSE:
	Item
	Response 

	1. Sewer maps (viewing only) and/or demonstration of GIS 
	

	2. Presentation and a copy of  the 11 Elements of the District’s Sewer System Management Plan (SSMP)
a. Goals

b. Organization

c. Overflow Emergency Response Plan

d. Fats, Oils and Grease (FOG) Control Program

e. Legal Authority

f. Measures and Activities (map; resources and budget; prioritized preventive maintenance; scheduled inspections and condition assessment; sewer cleaning and maintenance inventory, spare parts inventory; training; and outreach to plumbers and building contractors)

g. Design and Construction Standards

h. Capacity Management (assessment, system evaluation and capacity assurance plan)

i. Monitoring, Measurement and Program Modifications
j. SSMP Audit

k. Communication Program
	

	3. Number of current vacancies to operate and maintain sewer system in your organization
	

	4. Annual Budget for current and past three fiscal years
	

	5. Most recent Sewer Master Plan. Is the City on schedule with the implementation of projects recommended in its most recent Sewer Master Plan?
	

	6. List of capital improvement projects completed in the past three years; List of current and future capital improvement projects.
	

	7. Sources of funding for sewer O&M and capital improvement projects (i.e. sewer fees, general fund, bonds)
	

	8. Average current residential sewer fee, basis of sewer rate fee, and allocations of sewer fees. Sewer rates for the past five fiscal years. Provide copy of the most recent sewer rate study and discuss any plans if any to increase your Agency’s sewer rates.
	

	9. Average time from spill report to on-site response for each calendar year for the past three years and current year.
	

	10. Demonstration of spill response tracking system (manual or computerized information management system).  Make available for viewing customer complaint records, field spill reports, and office spill reports.
	

	11. Contingency equipment and replacement inventories.  If not already included in the SSMP, provide an up-to-date list of critical spare parts, major equipment for O&M and for effective response to emergency conditions.
	

	12. Pump Station Inventory.  Provide a list of pump stations including type and configuration, flow, percent of service area served by pump station, number of pumps and capacity, backup power, and alarms listing.
	

	13. Overflow Emergency Response Plan.  If the plan is only referenced and not summarized in the SSMP, please provide a copy of the plan.
	


C.
SEWER SYSTEM MAINTENANCE:

	Item
	Response 

	1. Demonstration of maintenance management system (manual, computerized management information system or computer-based maintenance management system (CCMS)).  Make available for viewing service request reports, work orders, system inventory, sewer inspection and condition assessment records, maintenance and cleaning records, and pump station O&M records/log books.
	

	2. Demonstration of telemetered monitoring and supervisory control systems (i.e. Supervisory Control And Data Acquisition (SCADA) system or system to gather data, supervise and control operations of the sewer collection system)
	

	3. Sewer cleaning statistics for last three full calendar years per year
a. System cleaning production (miles per year)

b. System cleaning frequency (years)

c. Pipes cleaned at least once per year (% of system)

d. Number of manholes inspected annually

e. Force mains inspected annually (miles or feet)
	

	4. Hot spot cleaning/inspection schedule (a-e above) and workload
	

	5. Average frequency of Food Service Establishments inspection over the past five full calendar years
	

	6. Summary of CCTV condition assessment rating
	

	7. Written explanation of pipe condition rating system
	


D.
SEWER SYSTEM CAPACITY

	Item
	Response

	Has the system undergone a capacity and an Inflow/Infiltration (I/I) assessment?  If so, please provide date and a summary of the findings.
	

	Is the District currently implementing an I/I reduction program? If so, please discuss any capital improvement projects or measures your Agency has implemented in the past 3 years and plans to implement in the future to reduce I/I into the system.
	

	Copy of Capacity assessment reports and Inflow/Infiltration (I/I) studies

	


E.
FINANCIAL INFORMATION

Complete Table 1 below utilizing previously audited budgets. Please estimate net assets for current fiscal year.
Table 1: Agency’s Financial Summary
	
	FY 2012/2013
Actual
	FY 2013/2014
Actual
	FY 2014/2015
Actual
	FY 2015/2016
Budgeted

	Operating Revenue
	
	
	
	

	Operating Expenses
	
	
	
	

	Net Non-Operating Revenues
	
	
	
	

	Change in Net Assets
	
	
	
	

	Net Assets, Beginning of Year
	
	
	
	

	Net Assets, End of Year
	
	
	
	


Please provide a list of your Agency’s primary sources of revenue for collection system operation and maintenance, and for collection system capital improvement projects (i.e. sewer service charges, inspection fees, connection fees, bonds, etc).  For a municipality, please also provide a financial summary of the operating revenue and expenses associated with the operation and maintenance of the sewer collection system and implementation of related CIPs.
F.
Sanitary Sewer Overflow (SSO) Event(s) and Unauthorized Discharge(s) Information:
Please provide additional information regarding the SSO Event(s) and unauthorized discharge event(s) that occurred on the following date(s).  Please provide a response in the right column or in a separate attachment as appropriate.  Please provide copies (one hard copy and if available one electronic copy of documents indicated below).
	Item
	Response


When applicable, specific questions or documentation needed regarding a specific SSO event(s) will be listed in this section.
PAGE  
5

