## Sheet1
| 2016-00xx-DDW | General Water Reuse Order 96-011 | Comments
Permit Type | Water Reclamation Requirements | General Water Reuse Requirements
Permitting Agency | Applicable Regional Water Board | California Regional Water Quality Control Board, San Francisco Region | Similar
Applicability | § Any Producer, Distributor or other legal entity, publicly or privately owned, that produces or distributes recycled water that meets Title 22 requirements. | Producer, Distributor, Joint powers agreement may be preferable between Producer and Distributor in some cases), RW must meet approved Title 22 requirements for specified uses | Similar
| Regulatory coverage under existing general order or conditional waiver for non-potable uses of recycled water will be terminated by Regional Board within 3 years after adoption of this General Order. Enrollees covered by existing general order or conditional waiver may continue to discharge under that authority until applicable Regional Board issues a Notice of Applicability (NOA) to an Administrator per the terms of this Order. | N/A | Will Cancel 96-011 within 3 years of adoption of new order.
Permitted programs need to file an NOI? | Applicants that have been previously issued an Order authorizing water recycling may be able to submit an abbreviated information package. Need to contact Regional Board and State Board staff to determine the application information needs | N/A | Uncertainty in submittal requirements for Producers with existing permits.
| § Enrollees under WQ 2014-0090-DWQ will be transferred to coverage under this General Order. | N/A | Does not apply to 96-011
Permitting Structure | Regional Water Board approves Enrollee’s program and Enrollee permits/approves individual projects. Uses not addressed by Title 22 are subject to standards set by the Boards and are to be approved on a case-by-case basis. | Producer shall submit to DHS for review and approval documentation of the proper installation of Title 22 mandated backflow prevention devices and the absence of cross connection prior to commencing use of RW at sites meeting any of the following criteria: New use that is not covered in DHS reuse criteria; large, high volume usage, or otherwise complex sites as defined in the Producer's Water Use Program (pursuant to Provision C.3). | Similar
Dual plumbed Sites | Dual plumbed systems will need consultation with State Water Board for additional reporting, design, and operation requirements. | Producer shall submit to DHS for review and approval documentation of the proper installation of Title 22 mandated backflow prevention devices and the absence of cross connection prior to commencing use of RW at dual plumbed systems. | Similar
Approved uses | § All non-potable recycled water uses as allowed by the treatment levels outlined in Title 22 | Title 22 approved uses dependent on level of treatment | Similar
| § Groundwater recharge and surface water augmentation not allowed | No direct or indirect groundwater recharge or surface augmentation | Similar
Antidegradation | Analysis deems recycled water usage under the General Order to be consistent with Antidegradation Policy as long as best practicable treatment or control (BPTC) is implemented (discretion of storage in unlined ponds, application at agronomic rates, minimization of runoff, adherence to Title 22 requirements). | Silent | Will mitigation be required and under what situation?
Airborne spray | RW shall not create a nuisance conditions. Application of RW is controlled to prevent airborne spray. Page 9. | Recycled secondary treated water as described under Section B shall not be allowed to escape from the designated use area(s) as an airborne spray that would visibly wet vegetation or any other surface | Difference - Airborne spray is treated differently between the two permits. 96-011 applies to only secondary treated RW; new permit applies it to all types of RW.
Prohibitions | Shall not cause or contribute to pollution (W.C. §13050(l))create a nuisance (W.C. §13050(m)) | 1. Treatment, storage and distribution or reuse of RW shall not create a nuisance as defined in Section 13050 (m) of the California Water Code | Similar
| No application on saturated soils. | 2. No application on saturated soils. | Similar
| Cannot escape from use area and pond or enter surface waters. | 3. Cannot escape from use area and pond or enter surface waters. | Similar
| Cannot contact drinking/food handling areas. No public exposure to undisinfected or 2° 23 RW spray/runoff. | 4. Cannot contact drinking/food handling areas. No public exposure to undisinfected or 2° 23 RW spray/runoff. | Similar
| Incidental runoff cannot result in water quality less than that prescribed in water quality control plans and policies, unless authorized through time schedule provisions in Waste Discharge requirement (WDR's), waivers of WDR's, or conditional prohibitions regulating agricultural discharges from irrigated lands. | The incidental discharge of RW to water of the State shall not unreasonably affect present and anticipated beneficial uses of water, and not result in water quality less than that prescribed in water quality control plans or policies. | Similar, however can be allowed via WDR's
| No cross-connections and backflow protection required per Title 17 | 11. There shall be no cross-connection between potable water supply and piping containing RW. All users of RW shall provide for appropriate backflow protection for potable water supplies as specified in Title 17, Section 7604 of the California Code of Regulations or as specified by DHS. | Similar
| Groundwater replenishment not authorized | 6. RW shall not be applied in groundwater recharge and wellhead protection areas (so designated by local agencies) 7. The use of RW shall not cause rising groundwater discharging to surface waters to impair surface water quality objectives and beneficial uses. | Similar
| Percolation ponds, excessive hydraulic loading where primary purpose is disposal of treated wastewater are not authorized. | 9. No RW shall be discharged from treatment facilities, irrigation holding tanks, storage ponds, or other containment, other than for permitted reuse in accordance with this Order, other Board issued Waste Discharge Requirements or NPDES permits, contingency plan in an approved Water Reuse Program (NOI report), or for discharge to a municipal sewage treatment system. | Similar
| Direct potable reuse is not authorized | Separate NPDES permit must be obtained | Similar
|  | RW shall not be used as a domestic or animal water supply. | Not specified in New Permit
| The use of recycled water in violation of the Regional Board's Basin Plan is prohibited. | Not specified | May affect some producers
Specifications | RW distribution and use permitted under this General Order shall be in compliance with the following requirements: | RW distribution and use permitted under this General Order shall be in compliance with the following requirements: | Similar
| o Title 17 and Title 22 | Title 17 and Title 22 | Similar
| o All requirements of General Order | General Water Reuse Order 96-011 | Similar
| o Approved Title 22 Engineering Report | Water Reuse Program Technical Report submitted as part of NOI | Similar
| o The Notice of Applicability | N/A
| Administrator shall discontinue delivery of RW during any period when there is reason to believe that quality of the delivered RW is not meeting Title 22 requirements. Administrator notify Regional Board and the State Board within 1 business day of determining that delivery of off-specification RW. If termination of delivery to Users occurs, Regional Board shall be copied on any correspondence concerning non-compliance between Administrator and User. | N/A | Not specified in 96-011
Salt & Nutrient Management Plans | If directed by the Regional Water Board, Administrator shall prepare and submit a Salt and Nutrient Management Plan | When directed by the Regional Board, a Producer shall prepare and submit a Salt Management Plan, acceptable to the Executive Officer. | Adding nutrient requirement to the Management Plan may increase producer's costs, whereas 96-011 only required a Salt Management Plan.
| o WDRs or NPDES permits for production facility | NPDES permits for production | Similar
| o Any applicable CEQA water quality mitigation measure | Not specified | Not detailed in 96-011 but is followed.
| o Water Code section 1211 when RW use will affect changes in flow in a watercourse | Not specified | Not detailed in 96-011 but is followed.
| § Discontinue delivery and notify Regional Water Board if quality does not meet standards | Not specified | Not detailed in 96-011 but is followed.
| § Address agronomic rates and nutrient application in O&M Plan if required by Regional Water Board. Other uses of recycled water, besides landscape irrigation, that are infrequent (for example dust control) must also be addressed by a set of measures within an Implementation or Operations and Management Plan. | N/A | Change in program that could be costly to implement and will require changes to Producer's recycled water program guidelines.
Storage | § Pond storage of recycled water allowed | Any storage facility containing RW for reuse applications shall be managed in a manner to control odor or nuisance conditions. Should such problems develop, a management plan shall be devised and implemented to monitor, correct, and control future occurrences. | Similar
B. All wastewater storage ponds, shall be adequately protected from erosion, washout and flooding from a 24-hour rainfall event having a predicted frequency of once in 100 years.
Monitoring | General
| § Samples must be representative of volume and nature of discharge |  | Already doing
| § Specific requirements on sample details (i.e. name of sampler, type, time, date, location, bottle type etc. on chain of custody) |  | Already doing
| § Specific requirements for field test instruments (i.e. ELAP certified lab, proper training and calibration, 3 year record retention, etc.) |  | Already doing
| Recycled Water Quality | Recycled Water Quality
| § Applicable during periods when recycled water is in use. | Applicable during periods with recycled water is in use | Already doing
| Total Coliform (MPN/100ml), Grab, Frequency TBD in the NOA, Reporting: TBD; Collection point immediately downstream of disinfection system | Total Coliform (MPN/100 ml)- Daily Grab; treatment plant where a representative sample of treated effluent being diverted for Reuse | Already doing
| § Turbidity (NTU) – Grab/meter; Frequency TBD NOA; Reporting frequency; TBD | Turbidity (NTU); Daily, Continuous monitoring (recorder) | Already doing
| § Priority Pollutants – Annually if > 1mgd, 1/5Y if < 1 mgd | N/A | What is the Regional Board gong to do with this data? Are they going to add future requirements on producers? Cost to the Producer approx. $2,500 annually. If RW program is placed under new permit try to negotiate eliminating testing for 2,3,7,8-tetrachloro-dibenzo-p-dioxin (testing costs $1,000) and Asbestos (testing costs $200) since they are normally non-detect.
| Flow Rate | Flow Rate (gallons/day) | Already doing
|  | Dissolved Oxygen (mg/L), Grab sample frequency 3/week | Already doing
|  | Dissolved Sulfides (mg/l) (if DO<1mg/l), Grab sample frequency 3/week | Already doing
User Reporting | Monitoring and reporting program (MRP) | 96-011 SMR Requirement
| Use Area Monitoring (Irrigation) | Irrigation Uses
| MRP User reporting is quarterly, however if approved by Regional Board maybe less frequently. Reporting frequently to Regional Board is Annual | Producer conducted monitoring, or user self-monitoring if approved by the Producer, shall be conducted at least Annually. | New permit is more stringent on this requirement, unless granted a variance from Board.
|  | Evidence of leaks or breaks in irrigation system | Not in new permit
|  | Evidence of broken or faulty drip irrigation system emitters or sprinklers | Not in new permit
| § Recycled Water User: Reporting - Annually |  | DSRSD is already doing this
| § Flow (gpd): Sample Freq. - Monthly; Reporting - Annually |  | DSRSD is already doing this
| § Acreage Applied (acres): Reporting - Annually |  | DSRSD is already doing this
| § Application Rate (in/ac/yr): reported annually | N/A | Not required in 96-011. Requires additional data from users
| § Soil saturation/ponding (observation): Sample frequency - Quarterly; Report - annually | Evidence of runoff of recycled water from site | Currently, DSRSD Users are reporting semi-annual; If change to new permit will increase back to quarterly
| § Nuisance Odors/Vectors (observation): Sample frequency - Quarterly: Reporting Annually | Odor of wastewater origin from irrigation site; evidence of ponding of recycled water and evidence of mosquitoes breeding | Currently, DSRSD Users are reporting semi-annual; If change to new permit will increase back to quarterly
| § Discharge Off-Site (observation): Sample frequency - Quarterly; reported annually | Evidence of overflows, leaks, erosion of dikes, etc. of storage pond(s) or impoundments | Currently, DSRSD Users are reporting semi-annual; If change to new permit will increase back to quarterly
| § Notification Signs (observation): Sample frequency - Quarterly; reported annually | Are there warning signs posted to inform public of recycled water use | Currently, DSRSD Users are reporting semi-annual; If change to new permit will increase back to quarterly
Cooling/Industrial/Other Uses
| § Cross Connection Testing – every 4 years, report within 30 days to DDW, annually to RWB |  | Title 22 dual plumb requirement
| § Backflow Incident – Continuous, report within 24 hrs |  | Title 17 requirement
| Backflow Prevention Device Testing and Maintenance – Annually |  | Title 17 requirement
Pond Systems
| § Freeboard (0.1 feet) – Quarterly | Silent | New
| § Odors (observation) – Quarterly | Silent | New
| § Berm Condition (observation) – Quarterly | Silent | New
Spill Reporting
| § Silent on spill reporting | Silent | Similar
Administrator Reporting | Annual Report
| § Due to RWB by April 1 each year | Due March 15 of each year and submitted to RWQCB | Change in due date to 15 days later.
| § Cover letter with summary of number and severity of violations, actions taken or planned |  | Will need to beef up cover letter if placed under new permit
| § Tabular and graphical summaries of all monitoring data, including priority pollutants | Constituents noted above in Monitoring Section: Flow rate, total coliform, turbidity, dissolved oxygen, dissolved sulfides, and applicable standard observations (site inspections). | Already doing this, except priority pollutants, see Appendix A.
| § Tabulation of Users and use areas (include maps, ID new users); Newly permitted users and use areas shall be identified. If applicable, supplement to the Engineering Report and the State Water Board DDW approval letter supporting those additions shall be included. | Summary of RW usage includes: Reuse Application Category, # of sites, area applied, amount distributed (MG), % of Total Reuse Flow; A list of new authorized recycled water users, include the name of customers, application source and projected annual flow to be delivered. | Already reporting
| Silent | Tabular summary of RW use by billing period of each user | Eliminate from reporting
| Silent | A summary of total daily recycled water delivered by Producer | Already reporting
| Silent | Include a comprehensive discussion of the progress and results of the water recycling program and should include: update of current and future development of the water recycling program, including planning, design and construction of facilities, preparation of required reports and technical documents and progress toward regulatory approvals; progress and evaluation of any special studies or projects being undertaken related to the program. | Eliminate from reporting
| § Evaluation of treatment facility performance (capacity issues, system problems, forecast of flows for next year) | Brief description of recycled water facility's treatment and quality of recycled water producing. Summarize excursions above your permit limits, and how/when they were rectified. Any significant daily permit violations are to be reported to Water Board within 24 hours, follow up with a written report outlined in your SMP. | Already reporting
| § Summary Table of all inspections and enforcement activities initiated by the Administrator. Include discussion of compliance and corrective action taken. Copies of documentation of any enforcement actions taken by the Administrator shall be provided. | Tabulation of User site inspections conducted by Producer and Summary of violations found during inspections of reuse sites, corrective actions taken and any changes to, or revoking the User authorization by Producer | Already doing this, except including copies of enforcement actions taken.
| Wants to move toward electronic reporting | Submit annual report as a separate document | Electronic reporting eventually
| § Name and contact info for RW operator responsible for operation, maintenance and system monitoring |  | Already reporting
Fee | § Application fee to Regional Water Board of jurisdiction (CCR, title 23, division 3, chapter 9, section 2200) |  | Fee concern - how much is the fee?
| § Annual fee until coverage is terminated |  | Fee concern - how much is the fee?
Producer Responsibilities
| Producer shall provide water quality data and communicate to Users the nutrient levels in RW | N/A | New requirement
| Producer/Administrator shall require application of RW at agronomic rates | N/A | New requirement
| Item to include in NOI: Proposed Implementation or Operations and Management plan may include a water and nutrient budget for use area(s), site supervisor training, periodic inspections, or other appropriate measures. | Producer, distributor, and Users should receive appropriate employee training to assure proper operation of RW facilities. Producer, distributor, and user shall designate a Recycled Water Supervisor responsible for compliance with the Producer's permit conditions. | Similar, except Regional Board may request water and nutrient budget for use areas included in O&M Plan
Changes to Program | Administrator shall obtain written approvals for any changes to the Administrator's approved program. Page 22 | Not Specified | Already in practice
| All Users of recycled water shall provide backflow protection as specified in Title 17, or as determined by the State Water Board on a case-by-case basis to protect public health | All users of recycled water shall provide for appropriate backflow protection for potable water supplies as specified in Title 17, Section 7604 of the California Code of Regulations or as specified by DHS. | Already in practice
Joint Responsibilities
| Administrator shall conduct periodic inspections of User's facilities | User shall perform periodic inspections. Producer conducted monitoring, or user self-monitoring shall be conducted at least annually. | Similar
| RW transported by truck for uses consistent with Uniform Statewide Recycling Criteria (Title 22) such as dust control, Administrator shall provide notification and control measures for users consistent with provisions of the approved Title 22 Engineering Report and addresses public health | This Order provides authorization for tanker-truck distribution of RW. | Similar - Administrator needs to issue a permit to haulers
Possible Future Monitoring | Nutrients, disinfection by-products (DBP's), constituents of emerging concern (CEC's), and endocrine distributing chemicals (EDC's) | N/A | This may have significant impact to producers monitoring and mitigation may be required.
Authors: Amanda Roa, Delta Diablo Sanitation District
Stefanie Olson, Dublin San Ramon Services District