## Slide 1: 4.15 Management Review
(ISO/IEC 17025:2005, Clause 4.15)
Jason Mitchell
13 February 2019

## Slide 2: 4.15.1
In accordance with a predetermined schedule and procedure, the laboratory’s top management shall periodically conduct a review of the laboratory’s management system and testing and/or calibration activities to ensure their continuing suitability and effectiveness, and to introduce necessary changes or improvements. The review shall take account of:
[my comment: this clause can and must be used prudently to get the support the laboratory needs from upper management]

## Slide 3: Notes
A typical period of for conducting management review is once every 12 months.
Results should feed into the laboratory planning system and should include the goals, objectives and action plans for the coming year.
Management review includes consideration of related subjects at regular meetings.

## Slide 4: 4.15.2
Findings from management reviews and the actions that arise from them shall be recorded. The management shall ensure that those actions are carried out within an appropriate and agreed timescale.

## Slide 5: 4.15.3 (TNI Statement)
Management review shall be completed on an annual basis.

## Slide 6: What must/should be reviewed? (1)
Suitability of policies and procedures
  Should all policies and procedures be reviewed annually?
  How to determine suitability?
  What is the process for documenting review and the outcome of the review? (This is an overarching consideration for all topics)

## Slide 7: What must/should be reviewed? (2)
2. Reports from managerial and supervisory personnel
  Identify the reports from managerial and supervisory personnel. At what frequency are these reports received?
  Is there guidance on the minimum content of these reports?

## Slide 8: What must/should be reviewed? (3)
3. Outcome of the recent internal audits
  Does this mean internal audits conducted in the last 12 months?
    Does that meet the established schedule for internal audits?
  Is there guidance on the minimum content of these reports?

## Slide 9: What must/should be reviewed? (4)
4. Corrective Action and Preventive Action (CAPA)
  Is there a policy in place and is it being followed?
  Repeat findings?
  PT related CAPA?

## Slide 10: What must/should be reviewed? (5)
5. Assessment by external bodies
  ELAP
  EPA
  RWQCB
  Consultant

## Slide 11: What must/should be reviewed? (6)
6. Results of inter-laboratory comparisons and PT
  Status of certification and PT studies: on time, repeats, CAPA, response to ELAP

## Slide 12: What must/should be reviewed? (7)
7. Changes in volume and type of work
  Define volume
  Define ‘type of work’
  Tracking mechanism?
  How would you explain this to management?
  What would be your ‘ask’?

## Slide 13: What must/should be reviewed? (8)
8. Customer feedback
  Who is your customer?
  How do you get feedback?
  Is there any action lab need to take based on feedback?
  Do you need anything from management to be responsive to the feedback?

## Slide 14: What must/should be reviewed? (9)
9. Complaints
  What are the complaints?
  Can the lab do something to address the complaints?
  Do you need anything from management to be responsive to the complaints?

## Slide 15: What must/should be reviewed? (10)
10. Recommendation for improvements
  Consolidated recommendations from previous topics considered
  What is the vision the laboratory is presenting to management?
  Facts supporting your recommendations

## Slide 16: What must/should be reviewed? (11)
11. Other relevant factors: QC activities, resources and staff training
  What has the laboratory been tracking throughout the year?
  At a minimum, address QC, resource and staff training